Northwest Regional ESD

Safety Committee Building Inspection Checklist

Building: ___________________________________ Date: ___________________________

Inspector(s): ________		______________________

- Are all classrooms/work areas clean and orderly with clean, dry floors?  		Y	N

If No, explain:

- Are electrical outlets being used in a safe manner (no overloads, no daisy chains)?  	Y	N

If No, explain:

- Are power strips being used in place of extension cords?  		Y	N

If No, explain:

- Are extension cords position to NOT be trip hazards (tucked back or taped down)?  	Y	N

If No, explain:

- Are all TVs secured to carts?  		Y	N

If No, explain:

- Do all portable heaters have tip over switches and kept away from flammable materials?  	Y	N

If No, explain:

- Are first aid kits provided and assembled as needed?  		Y	N

If No, explain:

- Are exit/fire doors visible, unobstructed (with at least a 36” pathway), properly marked and working properly?  		Y	N

If No, explain:

- Are fire evacuation routes posted clearly?  		Y	N

If No, explain:

- Are mats in front of exit doorways non-skid?  		Y	N

If No, explain:

- Are non-exit doors clearly marked?  		Y	N

If No, explain:

- Are all doors working properly and in good repair (locks, push-bars, door frames, door james, etc.)?  		Y	N

If No, explain:

- Are all windows working properly and in good repair?  		Y	N

If No, explain:

- Are all hallways, ramps, and stairs clear of obstructions or trip hazards?  		Y	N

If No, explain:

- Are all hallways, ramps, and stairs clean with no slip hazards?  		Y	N

If No, explain:

- Are fire extinguishers provided as needed and with current inspection tags?  		Y	N

If No, explain:

- Are fire alarm pull stations available and clearly marked?  		Y	N

If No, explain:

- Is all overhead storage (where necessary) secured and stable, where no objects may fall on students or staff?  		Y	N

If No, explain:

- Are all chairs, desks, and office furniture in good working condition?  		Y	N

If No, explain:

- Are all chemical/cleansers and water containers properly stored with appropriate labels?  	Y	N

If No, explain:

- Are all restrooms clean and in good working order?  		Y	N

If No, explain:

Any other observations/suggested corrections: